{

"\_id" : "33060000011824520230329180000",

"gd\_id" : "0d79f052-5bc0-484e-9523-76ad7ff3bbcd",

"mn" : "33330621006262",

"protocol" : "1",

"mp\_id" : "330600000118245",

"exchange\_type" : "2",

"data\_time" : ISODate("2023-03-29T18:00:00.000+08:00"),

"create\_time" : ISODate("2023-03-29T19:00:25.454+08:00"),

"update\_time" : ISODate("2023-03-29T19:10:03.520+08:00"),

"exchange\_time" : ISODate("2023-03-29T19:00:25.454+08:00"),

"\_version" : NumberInt(2),

"values" : [

{

"pollutant\_code" : "B02",

"cou\_value" : "355242",

"min\_value" : null,

"max\_value" : null,

"avg\_value" : "98.7",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"datasource\_code" : null,

"datasource\_reason" : null

},

{

"pollutant\_code" : "902",

"cou\_value" : null,

"min\_value" : "0.10",

"max\_value" : "21.10",

"avg\_value" : "13.31",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : null,

"datasource\_zs\_reason" : null,

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : null,

"datasource\_zs\_hm\_reason" : null

},

{

"pollutant\_code" : "S02",

"cou\_value" : null,

"min\_value" : "16.49",

"max\_value" : "17.32",

"avg\_value" : "16.85",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null

},

{

"pollutant\_code" : "S03",

"cou\_value" : null,

"min\_value" : "70.4",

"max\_value" : "73.5",

"avg\_value" : "71.8",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null

},

{

"pollutant\_code" : "S08",

"cou\_value" : null,

"min\_value" : "-0.33",

"max\_value" : "-0.30",

"avg\_value" : "-0.32",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null

},

{

"pollutant\_code" : "S05",

"cou\_value" : null,

"min\_value" : "13",

"max\_value" : "13.30",

"avg\_value" : "13.21",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null

},

{

"pollutant\_code" : "008",

"cou\_value" : "6.693",

"min\_value" : "5.808",

"max\_value" : "37.295",

"avg\_value" : "18.841",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : "1",

"datasource\_zs\_reason" : "涉及因子无效",

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : "1",

"datasource\_zs\_hm\_reason" : "涉及因子无效"

},

{

"pollutant\_code" : "006",

"cou\_value" : null,

"min\_value" : "1.048",

"max\_value" : "1.489",

"avg\_value" : "1.237",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : "1",

"datasource\_zs\_reason" : "涉及因子无效",

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : "1",

"datasource\_zs\_hm\_reason" : "涉及因子无效"

},

{

"pollutant\_code" : "030",

"cou\_value" : "0.240",

"min\_value" : "0.217",

"max\_value" : "2.020",

"avg\_value" : "0.675",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : null,

"datasource\_zs\_reason" : null,

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : null,

"datasource\_zs\_hm\_reason" : null

},

{

"pollutant\_code" : "002",

"cou\_value" : "7.712",

"min\_value" : "6.694",

"max\_value" : "42.987",

"avg\_value" : "21.710",

"min\_zs" : "7.362",

"max\_zs" : "9999.900",

"avg\_zs" : "57.517",

"outlet\_standard" : "35",

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "1",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : "1",

"datasource\_zs\_reason" : "涉及因子无效",

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : "1",

"datasource\_zs\_hm\_reason" : "涉及因子无效"

},

{

"pollutant\_code" : "003",

"cou\_value" : "0.506",

"min\_value" : "1.208",

"max\_value" : "1.712",

"avg\_value" : "1.425",

"min\_zs" : "1.080",

"max\_zs" : "9999.900",

"avg\_zs" : "3.775",

"outlet\_standard" : "50",

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : "1",

"datasource\_zs\_reason" : "涉及因子无效",

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : "1",

"datasource\_zs\_hm\_reason" : "涉及因子无效"

},

{

"pollutant\_code" : "S01",

"cou\_value" : null,

"min\_value" : "0.12",

"max\_value" : "24.33",

"avg\_value" : "15.34",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : "1",

"datasource\_reason" : "有效数据不足",

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : "1",

"datasource\_hm\_reason" : "有效数据不足"

},

{

"pollutant\_code" : "901",

"cou\_value" : null,

"min\_value" : "-0.088",

"max\_value" : "1.097",

"avg\_value" : "0.213",

"min\_zs" : null,

"max\_zs" : null,

"avg\_zs" : null,

"outlet\_standard" : null,

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : null,

"datasource\_zs\_reason" : null,

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : null,

"datasource\_zs\_hm\_reason" : null

},

{

"pollutant\_code" : "001",

"cou\_value" : "0.096",

"min\_value" : "-0.111",

"max\_value" : "1.396",

"avg\_value" : "0.271",

"min\_zs" : "-0.608",

"max\_zs" : "9999.900",

"avg\_zs" : "0.717",

"outlet\_standard" : "5",

"mstatus" : "0",

"sstatus" : "0",

"estatus" : "0",

"astatus" : "0",

"flag" : "N",

"revise\_flag" : null,

"revise\_flag\_subitem" : null,

"cou\_revised" : null,

"revised\_text" : null,

"revised\_time" : null,

"reviser" : null,

"avg\_revised" : null,

"datasource\_code" : null,

"datasource\_reason" : null,

"rstatus" : null,

"rstatus\_reason" : null,

"avg\_zs\_revised" : null,

"datasource\_zs\_code" : "1",

"datasource\_zs\_reason" : "涉及因子无效",

"avg\_hm\_revised" : null,

"datasource\_hm\_code" : null,

"datasource\_hm\_reason" : null,

"avg\_zs\_hm\_revised" : null,

"datasource\_zs\_hm\_code" : "1",

"datasource\_zs\_hm\_reason" : "涉及因子无效"

}

],

"persist\_time" : ISODate("2023-03-29T19:10:05.322+08:00")

}