山西离柳焦煤集团有限公司汽源厂

25年4月18日标记了工况，但超标督办还是列出来了。



督办按原始值判断超标：

监控数据工况显示停运:



5月30日\_日数据json

{

 "\_id" : "1411810000401520250530000000",

 "gd\_id" : "0bf27994-3044-4332-83d8-a416dcad0e61",

 "mn" : "03581550241850",

 "protocol" : "1",

 "mp\_id" : "14118100004015",

 "exchange\_type" : "2",

 "data\_time" : ISODate("2025-05-30T00:00:00.000+08:00"),

 "create\_time" : ISODate("2025-05-30T23:59:45.302+08:00"),

 "update\_time" : ISODate("2025-05-31T14:38:29.083+08:00"),

 "exchange\_time" : ISODate("2025-05-30T23:59:45.302+08:00"),

 "\_version" : 2,

 "values" : [

 {

 "pollutant\_code" : "S01",

 "cou\_value" : null,

 "min\_value" : "20.727",

 "max\_value" : "20.880",

 "avg\_value" : "20.811",

 "min\_zs" : null,

 "max\_zs" : null,

 "avg\_zs" : null,

 "outlet\_standard" : null,

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足",

 "avg\_hm\_revised" : null,

 "datasource\_hm\_code" : "1",

 "datasource\_hm\_reason" : "有效数据不足"

 },

 {

 "pollutant\_code" : "S02",

 "cou\_value" : null,

 "min\_value" : "0.030",

 "max\_value" : "1.765",

 "avg\_value" : "0.061",

 "min\_zs" : null,

 "max\_zs" : null,

 "avg\_zs" : null,

 "outlet\_standard" : null,

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足"

 },

 {

 "pollutant\_code" : "S03",

 "cou\_value" : null,

 "min\_value" : "13.632",

 "max\_value" : "24.576",

 "avg\_value" : "17.515",

 "min\_zs" : null,

 "max\_zs" : null,

 "avg\_zs" : null,

 "outlet\_standard" : "",

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足"

 },

 {

 "pollutant\_code" : "S05",

 "cou\_value" : null,

 "min\_value" : "0.934",

 "max\_value" : "0.978",

 "avg\_value" : "0.951",

 "min\_zs" : null,

 "max\_zs" : null,

 "avg\_zs" : null,

 "outlet\_standard" : null,

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足"

 },

 {

 "pollutant\_code" : "S08",

 "cou\_value" : null,

 "min\_value" : "-0.0126",

 "max\_value" : "0.0522",

 "avg\_value" : "0.0179",

 "min\_zs" : null,

 "max\_zs" : null,

 "avg\_zs" : null,

 "outlet\_standard" : "",

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足"

 },

 {

 "pollutant\_code" : "B02",

 "cou\_value" : "15313.265",

 "min\_value" : "0.087",

 "max\_value" : "5.097",

 "avg\_value" : "0.177",

 "min\_zs" : null,

 "max\_zs" : null,

 "avg\_zs" : null,

 "outlet\_standard" : null,

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足"

 },

 {

 "pollutant\_code" : "001",

 "cou\_value" : "0.0086",

 "min\_value" : "0.3892",

 "max\_value" : "0.7542",

 "avg\_value" : "0.5853",

 "min\_zs" : "22.1539",

 "max\_zs" : "85.6093",

 "avg\_zs" : "46.4560",

 "outlet\_standard" : "10",

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "1",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足",

 "rstatus" : "1",

 "rstatus\_reason" : "有效数据不足",

 "datasource\_zs\_code" : "1",

 "datasource\_zs\_reason" : "涉及因子无效",

 "avg\_hm\_revised" : null,

 "datasource\_hm\_code" : "1",

 "datasource\_hm\_reason" : "有效数据不足",

 "avg\_zs\_hm\_revised" : null,

 "datasource\_zs\_hm\_code" : "1",

 "datasource\_zs\_hm\_reason" : "涉及因子无效"

 },

 {

 "pollutant\_code" : "002",

 "cou\_value" : "0",

 "min\_value" : "-0.087",

 "max\_value" : "0.115",

 "avg\_value" : "0.021",

 "min\_zs" : "-8.489",

 "max\_zs" : "11.671",

 "avg\_zs" : "1.667",

 "outlet\_standard" : "35",

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足",

 "rstatus" : "1",

 "rstatus\_reason" : "有效数据不足",

 "datasource\_zs\_code" : "1",

 "datasource\_zs\_reason" : "涉及因子无效",

 "avg\_hm\_revised" : null,

 "datasource\_hm\_code" : "1",

 "datasource\_hm\_reason" : "有效数据不足",

 "avg\_zs\_hm\_revised" : null,

 "datasource\_zs\_hm\_code" : "1",

 "datasource\_zs\_hm\_reason" : "涉及因子无效"

 },

 {

 "pollutant\_code" : "003",

 "cou\_value" : "-0.001",

 "min\_value" : "-0.807",

 "max\_value" : "0.704",

 "avg\_value" : "-0.127",

 "min\_zs" : "-73.313",

 "max\_zs" : "68.343",

 "avg\_zs" : "-10.099",

 "outlet\_standard" : "50",

 "mstatus" : "0",

 "sstatus" : "0",

 "estatus" : "0",

 "astatus" : "0",

 "flag" : "N",

 "cou\_revised" : null,

 "avg\_revised" : null,

 "avg\_zs\_revised" : null,

 "datasource\_code" : "1",

 "datasource\_reason" : "有效数据不足",

 "rstatus" : "1",

 "rstatus\_reason" : "有效数据不足",

 "datasource\_zs\_code" : "1",

 "datasource\_zs\_reason" : "涉及因子无效",

 "avg\_hm\_revised" : null,

 "datasource\_hm\_code" : "1",

 "datasource\_hm\_reason" : "有效数据不足",

 "avg\_zs\_hm\_revised" : null,

 "datasource\_zs\_hm\_code" : "1",

 "datasource\_zs\_hm\_reason" : "涉及因子无效"

 }

 ],

 "refresh\_flag" : "0",

 "persist\_time" : ISODate("2025-05-31T14:36:57.840+08:00")

}